**ANNEX A: Terms of reference:**

**Location:** Souda Site, Admin Area.

**Request from:** Souda Management Coordinator

**Budget available:** 2017

Following damages inflicted by fires at Souda camp, repairs are needed on two remaining containers. These containers are Isobox containers, provided originally by KMS buildings. UNHCR is seeking a company which can restore the containers to their previous condition. A list of the required repairs is listed below:

A detailed breakdown of costs per item should be provided with the offer.

Repair for Container no1:

a) Two windows to be replaced,

b) New lock and handle for the door.

Repair for Container no 2:

a) One side of the container was burned. New panels to replace the burned side.

b) A part of the roof is also burned, new panels to replace the burned side.

c) A small part of the floor needs to be replaced.

d) One new lock for the door.